De: davidharbord@market-analysis.co.uk
Fecha: 9 de diciembre de 2013 11:39:35 GMT-5
Para: javier.diaz@creg.gov.co
Cc: carlos.eraso@creg.gov.co
Asunto: Re: Evaluation of CREG 051 -- 2009 Regulatory Intervention in Colombian Electricity Market

Dear Javier,

Below are some comments by Nils-Henrik von der Fehr and I with respect

to: "An Evaluation of CREG 051 -- 2009 Regulatory Intervention in

Colombian Electricity Market," by Luciano de Castro, Shmuel Oren and

Alvaro J. Riascos, November 19, 2013.  After a number of attempts we

still find it quite difficult to follow all of statistical and

econometric analysis in this report, and some of the annexes

explaining the methodology for constructing marginal and opportunity

costs appear to be missing. We can only offer some fairly broad

comments, therefore, subject to this caveat.

(1) Much of the report's analysis is sensitive to estimated hydro

opportunity costs which are difficult to calculate, but the method

chosen here is likely not very reliable outside of normal conditions.

In any case, hydro opportunity costs should probably reflect more El

Nino/ La Nina effects than they do in the report (during El Nino

periods hydro costs might be near the value of lost load, or the

Scarcity Price, and during Nina periods they are perhaps zero). A

different specification of hydro costs to reflect Colombia's more

extreme weather conditions could potentially alter some of the reports

conclusions on welfare effects and overproduction by hydro versus

thermal plant, for example. Further analysis of the sensitivity of the

report's conclusions to alternative approaches to evaluating hydro

costs therefore seems desirable.

(2) The report's welfare analysis ignores allocative inefficiency by

assuming perfectly inelastic demand. This may be appropriate for a

short-run (i.e. daily) auction analysis, but not for a longer-run

welfare analysis. Medium and long-run electricity demand elasticity

estimates for the USA and other countries are strictly positive, and

often exceed 0.6.  Including this in the welfare analysis might imply

that overall efficiency and welfare were reduced by the 2009

Regulation 051, contrary to the report's conclusions.

(3) The report concludes that price-cost margins have increased since

2009, but doesn't attempt any analysis of why or how the changes

introduced in Regulation 051 might have led to the greater exercise of

market power by generators. In the absence of such an analysis, or at

least a deeper understanding of this issue, recommendations for

adopting "a richer bid specification that more closely resembles

actual cost structures", or particular market power mitigation

measures, are not well founded and in our view premature.

For example, with pure energy (pre Res 051 2009) bids, thermal

generators bidding high prices into the auction risked being

despatched discontinuously or for short periods of time, and thus not

recovering their start-up costs. (In the 1990's, nuclear plant used to

bid zero or near-zero prices into the UK pool to avoid this outcome,

thus ensuring that they operated as baseload plant). Under the post-

Res 051 2009 system, this risk was removed. So bidding in higher

energy costs to set higher marginal prices would have become less

risky and presumably more profitable. Further reducing risk by

allowing for even more complex bids could conceivably make things

worse rather than better.

We can't say if the points immediately above are all correct, but

merely wish to point out that in the absence of an analysis of these

issues, adopting one or more new measures to solve the problems

identified in the report is likely to be counterproductive. To give

thus point further weight, recall that Frank Wolak's 2009/10 study

found that the introduction of two-part bidding in Res 051 2009 did

not reduce energy (variable cost) bids nor improve despatch

efficiency. 1 He also thought that hydro resources were being

underutilized during peak periods, and recommended introducing

"multiple offer price steps for each generation unit that are fixed

for the day" to solve this, in contrast to the current report's

findings and recommendations. Hence these two studies are not in

complete agreement on either the problems or the solutions.

However, Wolak's cautioning against the introduction of more complex

bids to guarantee start-up cost recovery now sound prescient. 2 As he

observed, "suppliers that receive guaranteed start-up cost recovery

still have strong financial incentives to exercise all available

unilateral market power in setting their energy offer prices."  And as

we have noted above, guaranteeing start-up recovery may have actually

increased incentives to exercise market power (i.e. increase price

bids) by eliminating the risks entailed by pure energy bids.

We hope you find these comments helpful and will be happy to discuss

them further with you at your convenience.

Best regards,

David Harbord

Nils-Henrik von der Fehr

1. Market Performance in the Colombian Electricity Market and the

Recent El Nino Event, Frank A. Wolak, September 2010

2.  Report on Market Performance and Market Monitoring in the

Colombian Electricity Supply Industry, Frank A. Wolak, July 30, 2009

Market Analysis Ltd

34 Great Clarendon Street

Oxford OX2 6AT

Tel: 44 (0)7530 241538

Movil: 57 316 7786064 (Colombia)

email: davidharbord@market-analysis.co.uk

Website: http://market-analysis.co.uk